Location Address:

Number of Installers:

Method Statement Date:Click or tap to enter a date.

Risk Assessment: Installation of Air Conditioning Systems in Factory Environments

1. Activity Overview

Installation of split-system, multi-split, or VRF air conditioning systems within a factory environment. Tasks include:

- Indoor and outdoor unit installation

- Pipework routing

- Electrical connections

- Refrigerant handling

- Commissioning and testing

Factory environments may include production lines, machinery, forklifts, overhead cranes, and elevated noise levels.

2. Key Hazards & Associated Risks

🔧 2.1 Working at Height

Risks

- Falls from ladders, steps, MEWPs, or scaffold towers

- Dropped tools or components injuring workers below

- Working above active machinery or production lines

Controls

- Use certified access equipment (MEWP preferred in factories)

- Exclusion zones beneath work area

- Harnesses where required

- Only trained personnel to work at height

- Coordinate with factory management to isolate machinery below

⚡ 2.2 Electrical Hazards

Risks

- Electric shock during isolation or connection

- Contact with factory electrical systems

- Overloading circuits or incorrect wiring

Controls

- Full lock-off/tag-out (LOTO) procedures

- Only qualified electricians to perform electrical work

- Test circuits before energising

- Use correct rated isolators and breakers

🧊 2.3 Refrigerant Handling (R32, R410A, etc.)

Risks

- Frostbite from liquid refrigerant

- Inhalation of refrigerant gases

- R32: Mild flammability risk

- Environmental harm from leaks

Controls

- F-Gas certified engineers only

- Leak testing and proper recovery procedures

- Adequate ventilation

- No hot work near R32

- Use gloves, goggles, and protective clothing

🏭 2.4 Factory Machinery & Plant Hazards

Risks

- Contact with moving machinery

- Entanglement hazards

- Unexpected start-up of equipment

- Noise interfering with communication

Controls

- Coordinate with factory supervisor to isolate machinery

- Use barriers or signage to segregate work area

- Do not place tools or materials on active machinery

- Use radios or hand signals if noise levels are high

🚧 2.5 Vehicle Movements (Forklifts, Pallet Trucks, HGVs)

Risks

- Collision with moving vehicles

- Struck-by hazards when carrying equipment

- Restricted visibility in busy factory yards

Controls

- High-visibility clothing mandatory

- Use banksman when moving large units

- Stick to pedestrian walkways

- Schedule deliveries outside peak factory traffic times

🛠️ 2.6 Manual Handling

Risks

- Lifting heavy indoor/outdoor units

- Carrying equipment through busy factory areas

- Musculoskeletal injuries

Controls

- Team lifts for heavy units

- Use trolleys, pallet trucks, or lifting aids

- Manual handling training

- Plan routes before moving equipment

🏗️ 2.7 Structural Hazards

Risks

- Drilling into walls containing cables, pipes, or structural steel

- Damage to building fabric

- Incorrect mounting leading to unit detachment

Controls

- Use cable/pipe detectors

- Follow manufacturer’s mounting instructions

- Use appropriate fixings for concrete, steel, or blockwork

🔥 2.8 Hot Work (if required)

Risks

- Fire from brazing or soldering

- Sparks igniting flammable materials

- Smoke triggering fire alarms

Controls

- Hot-work permit system

- Fire watch in place

- Fire extinguishers available

- Remove or cover combustible materials

🔊 2.9 Noise

Risks

- Drilling, cutting, and machinery noise

- Communication difficulties

- Hearing damage

Controls

- Hearing protection where required

- Use quieter tools where possible

- Pre-work briefing to agree communication signals

💨 2.10 Air Quality & Dust

Risks

- Dust from drilling affecting workers or production

- Dust entering sensitive machinery

- Triggering dust-sensitive alarms

Controls

- Use dust extraction or vacuum attachments

- Cover nearby machinery

- Coordinate with factory to isolate sensitive equipment

🔌 2.11 Trip Hazards

Risks

- Tools, cables, pipework, and packaging obstructing walkways

- Increased risk in busy factory floors

Controls

- Keep work area tidy

- Use cable mats or overhead routing

- Remove waste promptly

3. PPE Requirements

- Safety boots (mandatory in factories)

- Cut-resistant and refrigerant-safe gloves

- Safety glasses

- Hearing protection (as required)

- High-visibility clothing

- Hard hats (if overhead work is present)

4. Emergency Procedures

- Follow factory emergency evacuation procedures

- First aid available on site

- Spill kit for refrigerant leaks

- Report all incidents to site supervisor

- In case of refrigerant leak: ventilate area and evacuate if necessary

5. Residual Risk

With all controls in place, the residual risk is considered:

- Low to Medium, depending on site-specific machinery and access conditions.

This risk assessment will be reviewed annually or at any time, where a significant change requires a review.

Signed by: Rob Chappell		Signature:

Health & Safety Consultant		Dated: 28/03/2026	Next Review: 12 Months