PR COOLING LTD

PERMIT-TO-WORK CHECKLIST – REFRIGERATION INSTALLATION

Project: 
Location: Factory Environment
Date: ____________________
Permit Number: ___________
Issued By: _______________

1. PRE-WORK REQUIREMENTS

Site Induction Completed

- ☐ Yes

- ☐ No

RAMS Reviewed and Understood

- ☐ Yes

- ☐ No

COSHH Sheets Reviewed (All Applicable Refrigerants)

- ☐ R404A

- ☐ R452A

- ☐ R134a

- ☐ CO₂ (R744)

- ☐ R290 (Propane)

- ☐ Other: __________________

Competency Verification

- F-Gas Certification Checked

  - ☐ Yes

  - ☐ No

- Electrical Competency (if required)

  - ☐ Yes

  - ☐ No

2. SITE SAFETY CONTROLS

Isolation / Lock-Off-Tag-Out (LOTO)

- Electrical isolation confirmed

  - ☐ Yes

  - ☐ No

- Machinery isolated (if working overhead or nearby)

  - ☐ Yes

  - ☐ No

Access Equipment

- MEWP / scaffold inspected and tagged

  - ☐ Yes

  - ☐ No

Work Area Controls

- Exclusion zone established

  - ☐ Yes

  - ☐ No

- Barriers and signage in place

  - ☐ Yes

  - ☐ No

Ventilation Adequate

- ☐ Yes

- ☐ No

3. REFRIGERANT-SPECIFIC CONTROLS

Cylinder Handling & Storage

- Cylinders secured upright

  - ☐ Yes

  - ☐ No

- Correct refrigerant identified

  - ☐ Yes

  - ☐ No

Leak Detection Equipment Available

- ☐ Yes

- ☐ No

Flammable Refrigerant Controls (R290, R32, Hydrocarbons)

- No ignition sources within work area

  - ☐ Yes

  - ☐ No

- Intrinsically safe tools used

  - ☐ Yes

  - ☐ No

- Hot-work permit required?

  - ☐ Yes

  - ☐ No

4. HOT WORK (IF APPLICABLE)

Hot-Work Permit Issued

- ☐ Yes

- ☐ No

Fire Watch Assigned

- ☐ Yes

- ☐ No

Fire Extinguisher Present

- ☐ Yes

- ☐ No

5. PPE CHECKLIST

- ☐ Safety boots

- ☐ Hi-vis clothing

- ☐ Safety glasses

- ☐ Cut-resistant gloves

- ☐ Hearing protection

- ☐ Hard hat

- ☐ Flame-resistant gloves (for brazing)

- ☐ Anti-static PPE (for hydrocarbons)

6. AUTHORISATION

Permit Issued By:

Name: __________________________
Signature: ______________________
Time: __________________________

Permit Accepted By (Engineer):

Name: __________________________
Signature: ______________________
Time: __________________________

Permit Valid Until:

Date/Time: ______________________