Section 1. The Work Details:

Address where the work will be taking place:

Is this a Construction Site:  YES:		NO:

If YES, Enter Employee(s) CSCS Card Numbers Here:

| Employee(s) Name: | CSCS Card Number: | Expiry Date: |
| --- | --- | --- |

Section 2. The Area of Risk & Exposure:

| Area / Item Assessed: | Installation of domestic Electric Cooking Appliances | Manual handling Involved: | YES |
| --- | --- | --- | --- |
| Location: | As above address | COSHH Requirement: | NO |
| The Process: | Installing Electric Cooker | Nosie Assessment: | No |
| Equipment To Be Used: | Stair Lifts, Power tools, manual tools & Sack Trucks | LOLER Requirement: | Only if Fitted to vehicle |
| Substances Involved: | None | Exposure Time: | N/A |
| Exposed Persons: | Employees | Other: | N/A |
| Third Party Fitters |
| Other Operatives |

Section 3. Identified Hazards:

| HAZARD IDENTIFIED: | BEFORE CONTROLS: |  |  |  | AFTER CONTROLS: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | L | M | H |  | L | M | H |
| Manual Handling |  |  | X |  |  | X |  |
| Unloading of appliances |  |  | X |  | X |  |  |
| Slips, Trips & Falls |  |  | X |  | X |  |  |
| Risk of electric shock |  |  | X |  | X |  |  |
| Working at height | X |  |  |  | X |  |  |
| Injury from power / manual tools |  |  | X |  |  | X |  |

Section 4. Control Measures:

| REF NO: | CONTROL MEASURE / INSTRUCTION: |
| --- | --- |
| 1 | Ensure when unloading and loading the appliance that the vehilce is on a level surface, durable enough to whithstand the weight of the vehicle. If on a roadside or construction site all employees must be wearing safety boots, high visibilty jackets and face & eye protection. |
| 2 | If the employees vehicle has a tail lift and the employee has been trained in it's safe use, this must be used when adding or removing appliances from the vehicle. In all other cases, sack trucks must be used and electronic stair climbers used if going up steps. The employee must ensure that the route they will take with the appliance is level, clear and other people in the area are warned that they will be coming through. |
| 3 | The appliance must not be lifted if the employee is unable with the weight, it is alsways best to ask for help if unsure when lifting or moving the appliances. |
| 4 | Due to the type of appliance there is a high risk of slips or trips caused by cables or box straps, everyone in the area is to ensure they tidy as they go, keep cables tidy until required. |
| 5 | Power tools are only to be used by employees who are 'compentant' in their use, this will be judged by training and experience in the use of the tools. |
| 6 | Any accidents or product damages must be reported to the employees line manager and H&S Consultant without delay. |

Section 5. Training of Employees:

All employees that are listed above will have completed the following training within the last 12 months.

Manual Handling Training

Asbestos Training (UKATA Registered)

Working from Heights

Vehicle Safety

Site Safety – For those who carry CSCS Cards.

Section 6. The Method Statement’s identified for use with this Risk Assessment are:

| REF NO: | TITLE: |
| --- | --- |
| 008 | Commissioning of Domestic Electrical Cooking Appliances. |
| 006 |  |
| 009 |  |
| 010 |  |

Monitoring Results:

All risk assessments will be reviewed on an annual basis, if an incident is reported during this time period the review will take place as part of any investigation, updates made will be uploaded to the one drive system with a reference to all staff involved.

LOLER Examinations will be completed on an annual basis, unless otherwise required by Law. Certificates of all examinations are held at our head office.

Departmental Managers are responsible for full compliance of this risk assessment at all times.

This Risk Assessment has been authorised for use by:

Rob Chappell – Health & Safety Consultant.

Dated: 18/04/2022

Next Review is due by: 18/04/2023