Location Address:

Number of Installers:

Risk Assessment Date:Click or tap to enter a date.

Risk Assessment: Installation of Air Conditioning Systems in Office Premises

1. Activity Overview

Installation of split-system or multi-split air conditioning units within an office environment, including indoor unit mounting, outdoor condenser installation, electrical connections, refrigerant handling, and commissioning.

2. Key Hazards & Associated Risks

🔧 2.1 Working at Height

- Falls from ladders, steps, or access platforms

- Dropped tools or components injuring people below

- Instability of temporary access equipment

Risk Level: Medium to High
Controls:

- Use certified ladders/towers; ensure stable, level ground

- Maintain three-point contact on ladders

- Exclusion zone beneath work area

- Workers trained in working at height

⚡ 2.2 Electrical Hazards

- Electric shock during connection or isolation

- Overloading circuits

- Faulty wiring causing fire risk

Risk Level: High
Controls:

- Full electrical isolation before work

- Only qualified electricians to perform electrical connections

- Testing and certification after installation

- Use of lock-off/tag-out procedures

🧊 2.3 Refrigerant Handling

- Exposure to refrigerant gases (frostbite, respiratory irritation)

- Accidental release harming indoor air quality

- Environmental impact of leaks

Risk Level: Medium
Controls:

- F-Gas certified engineers only

- Proper recovery and leak-testing procedures

- Use of PPE (gloves, goggles)

- Adequate ventilation

🛠️ 2.4 Manual Handling

- Lifting heavy indoor/outdoor units

- Risk of musculoskeletal injuries

Risk Level: Medium
Controls:

- Team lifts for heavy units

- Use of lifting aids where possible

- Manual handling training

🏗️ 2.5 Structural Hazards

- Drilling into walls containing electrical cables or pipes

- Damage to building fabric

- Incorrect mounting leading to unit detachment

Risk Level: Medium
Controls:

- Use cable/pipe detectors before drilling

- Follow manufacturer’s mounting instructions

- Ensure fixings are appropriate for wall type

🔥 2.6 Hot Work (if required)

- Brazing or soldering pipework may cause burns or fire

- Sparks igniting nearby materials

Risk Level: Medium
Controls:

- Hot-work permit system

- Fire extinguishers on hand

- Clear area of combustibles

🔊 2.7 Noise and Disturbance

- Drilling and installation noise affecting office staff

- Vibration from tools

Risk Level: Low to Medium
Controls:

- Schedule noisy work outside peak office hours

- Notify staff in advance

- Use low-vibration tools where possible

💨 2.8 Air Quality & Dust

- Dust from drilling affecting workers and office occupants

- Potential triggering of fire alarms

Risk Level: Low
Controls:

- Use dust extraction or vacuum attachments

- Cover sensitive equipment

- Isolate smoke detectors if permitted and re-enable after work

🔌 2.9 Trip Hazards

- Tools, cables, and packaging obstructing walkways

Risk Level: Low
Controls:

- Keep work area tidy

- Use cable management

- Clear waste promptly

3. Personal Protective Equipment (PPE)

- Safety boots

- Gloves (cut-resistant and refrigerant-safe)

- Safety glasses

- Hearing protection (as required)

- High-visibility clothing (if working near vehicle routes)

4. Emergency Procedures

- First aid kit available on site

- Fire evacuation routes identified

- Spill kit for refrigerant leaks

- Emergency contact numbers displayed

5. Residual Risk

With the above controls in place, the residual risk is considered Low to Medium, depending on site-specific conditions.

This risk assessment will be reviewed annually or at any time, where a significant change requires a review.

Signed by: Rob Chappell		Signature:

Health & Safety ConsultantDated: 28/03/2026			Next Review: 12 Months