PR COOLING LTD

TOOLBOX TALK: AIR CONDITIONING INSTALLATION IN FACTORY ENVIRONMENTS

Topic: Safe Installation of Air Conditioning Systems in Factories

Delivered By: __________________________

Date: _________________________________

Attendees: _____________________________

1. PURPOSE OF THIS TOOLBOX TALK

To brief engineers and contractors on the key hazards, safe working practices, and control measures when installing air conditioning systems within a factory environment. Factories present additional risks such as machinery, vehicle movements, noise, and restricted access.

2. KEY HAZARDS DISCUSSED

Working at Height

- Falls from ladders, steps, MEWPs, or scaffold

- Dropped tools or materials

- Working above active machinery or production lines

Electrical Hazards

- Live circuits

- Incorrect isolation

- Overloading or incorrect wiring

Refrigerant Hazards (R32 & R410A)

- Frostbite

- Inhalation risks

- R32: Mild flammability

Factory Machinery & Plant

- Moving parts

- Unexpected start-up

- Entanglement hazards

Vehicle Movements

- Forklifts, pallet trucks, HGVs

- Blind corners and busy walkways

Manual Handling

- Heavy indoor/outdoor units

- Awkward pipework runs

Noise & Communication

- Drilling, machinery, production noise

- Difficulty hearing warnings

Dust & Air Quality

- Drilling dust affecting workers or machinery

- Triggering dust-sensitive alarms

3. SAFE WORKING PRACTICES

Before Starting Work

- Attend site induction

- Review RAMS and COSHH sheets

- Inspect tools and access equipment

- Confirm isolation points with site supervisor

- Establish exclusion zones

During Installation

- Use MEWPs or scaffold where possible

- Follow lock-off/tag-out procedures

- Keep work area tidy and free from trip hazards

- Use lifting aids for heavy equipment

- Maintain communication with factory staff

Refrigerant Handling

- Only F-Gas certified engineers

- Use correct PPE

- Ensure ventilation

- No hot work near R32

Working Around Machinery

- Never place tools on active machinery

- Do not enter guarded areas without permission

- Ensure machinery is isolated if working overhead

4. PERSONAL PROTECTIVE EQUIPMENT (PPE)

- Safety boots

- Hi-vis clothing

- Safety glasses

- Cut-resistant gloves

- Hearing protection (as required)

- Hard hat (if overhead work present)

5. EMERGENCY PROCEDURES

- Follow factory evacuation routes

- Report all incidents immediately

- Use spill kits for refrigerant leaks

- First aid available on site

- Stop work if conditions become unsafe

6. QUESTIONS & FEEDBACK

Encourage workers to raise concerns, ask questions, or highlight site-specific hazards.

7. ATTENDANCE SIGN-OFF

| Name | Signature | Company | Time |
| --- | --- | --- | --- |